## Slide 1: 2-D Parallel Beam CT Forward Projection Matrix Computation
Venkatesh Sridhar
Purdue University, IN, USA
14th July, 2016

## Slide 2: Coordinate System and Continuous Measurement Model
Reconstruct the object’s attenuation coefficient μ(x,y) at each pixel (SI units : m-1)
2-D Object slice
Projection Lines
X-ray Source
Detectors
Coordinate System

## Slide 3: Discretized Forward Model
Beer’s Law
To be reconstructed

## Slide 4: Detector-Pixel Profile
Used in computation of forward projection matrix An
For any generic pixel-detector pair, we compute the profile Lθ(δ)
For now we assume that pixels are square (equal dimensions of length Δp)
Projection Line
Detector
Pixel
Profile Function

## Slide 5: Detector-Pixel Profile Parameter Computation : Example
Consider the case 0 ≤ θ ≤ π/4
Projection Lines
Pixel

## Slide 6: Detector-Pixel Profile Parameters for different ranges of View Angles

## Slide 7: Forward Projection Matrix Computation
Projection Line
ith Detector
jth Pixel

## Slide 8: Incorporating Detector Sensitivity in Forward Matrix Computation
Sensitivity of the detector is typically non-uniform across various points within its aperture
So accounting only for the center of detector’s aperture while computing the forward projection is not an accurate approach
Solution : “Split” the given detector into a finite number of smaller elements. The final projection measured by the detector is modeled as a weighted sum of the projections measured by the smaller elements.
ith Detector
Element index : 1 2 … k … NE
Position of kth element from center of detector
Weight proportional to detector sensitivity
Element width
No. of elements
Displacement of detector center